## Sheet0
No. | name | description | eventTypeNm | state | stateName
1 | (V)Calibration | (V)Calibration | System | 1 | Instrument Calibrated
2 | AWFI Flush | AWFI Flush | Transient | 1 | True
3 | Bag Inst | Bag Installation | Start-Stop | 1 | True
4 | Cancel | Cancel | Transient | 1 | True
5 | Conductivity Meter STD And Inst | Conductivity Meter Standardization And Installation | Start-Stop | 2 | Not Installed
6 | External Clean | External Clean | Start-Stop | 1 | True
7 | History Correction | History Correction | Transient | 1 | True
8 | Maintenance | Maintenance | Start-Stop | 1 | True
9 | Manual | Manual | Start-Stop | 1 | True
10 | Manual Agitation | Manual Agitation | Start-Stop | 1 | True
11 | Operation | Operation | Start-Stop | 1 | True
12 | pH Meter Inst | pH Meter Installation | Transient | 2 | Not Installed
13 | pH Meter STD | pH Meter Standardization | Transient | 2 | Not Standardized
14 | pH Meter STD Exp | pH Meter Standardization Expired | System | 1 | True
15 | Vent Filter Inst | Vent Filter Installation | Start-Stop | 1 | True